## Master_IO_Database
Tag | Signal Description | IO Type | Field Cable Tag | Wire Pair | Redundancy Designator | Process Unit / Logical Group | Segregation
PT-1001 | Feedwater Pump Discharge Pressure | AI | CB-01 | 1 | A | Boiler Feedwater | DCS
PT-1002 | Feedwater Pump Suction Pressure | AI | CB-01 | 2 | A | Boiler Feedwater | DCS
FT-1001 | Main Boiler Feedwater Mass Flow | AI | CB-01 | 3 | A | Boiler Feedwater | DCS
TT-1001 | Economizer Inlet Temperature | AI | CB-01 | 4 | A | Boiler Feedwater | DCS
LT-1001 | Deaerator Storage Tank Level | AI | CB-01 | 5 | A | Boiler Feedwater | DCS
FV-1001 | Feedwater Control Valve Positioner Feedback | AO | CB-01 | 6 | A | Boiler Feedwater | DCS
PT-1001B | Feedwater Pump Discharge Pressure [Redundant B] | AI | CB-02 | 1 | B | Boiler Feedwater | DCS
PT-1002B | Feedwater Pump Suction Pressure [Redundant B] | AI | CB-02 | 2 | B | Boiler Feedwater | DCS
FT-1001B | Main Boiler Feedwater Mass Flow [Redundant B] | AI | CB-02 | 3 | B | Boiler Feedwater | DCS
TT-1001B | Economizer Inlet Temperature [Redundant B] | AI | CB-02 | 4 | B | Boiler Feedwater | DCS
LT-1001B | Deaerator Storage Tank Level [Redundant B] | AI | CB-02 | 5 | B | Boiler Feedwater | DCS
FV-1001B | Feedwater Control Valve Secondary Loop AO | AO | CB-02 | 6 | B | Boiler Feedwater | DCS
FT-2001 | Cooling Tower Circulation Flow | AI | CB-03 | 1 |  | Cooling Water | DCS
TT-2001 | Cooling Water Supply Temp | AI | CB-03 | 2 |  | Cooling Water | DCS
TT-2002 | Cooling Water Return Temp | AI | CB-03 | 3 |  | Cooling Water | DCS
PT-2001 | Cooling Water Header Pressure | AI | CB-03 | 4 |  | Cooling Water | DCS
HS-3001 | Turbine Trip Pushbutton Status | DI | CB-04 | 1 | A | Turbine Controls | ESD
ZS-3001 | Main Steam Stop Valve Fully Open | DI | CB-04 | 2 | A | Turbine Controls | ESD
ZS-3002 | Main Steam Stop Valve Fully Closed | DI | CB-04 | 3 | A | Turbine Controls | ESD
XV-3001 | Turbine Emergency Trip Solenoid | DO-SOV | CB-04 | 4 | A | Turbine Controls | ESD
XV-3002 | Vacuum Breaker Solenoid Valve | DO-SOV | CB-04 | 5 | A | Turbine Controls | ESD
ALM-3001 | Turbine Overspeed Alarm Strobe | DO | CB-04 | 6 | A | Turbine Controls | DCS
HS-3001B | Turbine Trip Pushbutton Status [Redundant B] | DI | CB-05 | 1 | B | Turbine Controls | ESD
ZS-3001B | Main Steam Stop Valve Open [Redundant B] | DI | CB-05 | 2 | B | Turbine Controls | ESD
ZS-3002B | Main Steam Stop Valve Closed [Redundant B] | DI | CB-05 | 3 | B | Turbine Controls | ESD
XV-3001B | Turbine Emergency Trip Solenoid B | DO-SOV | CB-05 | 4 | B | Turbine Controls | ESD
XV-3002B | Vacuum Breaker Solenoid Valve B | DO-SOV | CB-05 | 5 | B | Turbine Controls | ESD
ALM-3001B | Turbine Overspeed Alarm Horn | DO | CB-05 | 6 | B | Turbine Controls | DCS
PT-4001 | Column Overhead Vapor Pressure | AI | CB-06 | 1 |  | Distillation Unit | DCS
TT-4001 | Column Tray 12 Temperature | AI | CB-06 | 2 |  | Distillation Unit | DCS
TT-4002 | Column Reboiler Outlet Temp | AI | CB-06 | 3 |  | Distillation Unit | DCS
LT-4001 | Reflux Drum Hydrocarbon Level | AI | CB-06 | 4 |  | Distillation Unit | DCS
LT-4002 | Column Sump Liquid Level | AI | CB-06 | 5 |  | Distillation Unit | DCS
FV-4001 | Reflux Return Flow Control Valve | AO | CB-06 | 6 |  | Distillation Unit | DCS
FV-4002 | Reboiler Steam Flow Control Valve | AO | CB-06 | 7 |  | Distillation Unit | DCS
PV-4001 | Offgas Vent Pressure Control Valve | AO | CB-06 | 8 |  | Distillation Unit | DCS
TAG-ERR-901 | Special Pyrometer Pyrometric Sensor | UNKNOWN_OPTIC_440V | CB-99 | 1 |  | Special Instrumentation | DCS